## Meter Proving Test Record ( (4)
METER TEST PROVING RECORD
[8 empty] | Date of Test |  | 2026-05-05 |  |  | Last Test Date
Shell
Location |  |  |  | Address |  |  |  | Product |  |  |  | Thruput Since Last Test |  |  |  | Product Gravity | Shell Temp | Correction Factor
Chelsea Global |  |  |  | 281 Eastern Ave, Chelsea, MA 02150 |  |  |  | ULSD | [7 empty] | 38 | -20 | 0.99901
Meter Make | Smith |  | Model # | F4S1 |  |  | Size | 4" | Serial# |  | KM-107556 |  |  | Meter ID# | L1A2 |  | -19 | 0.99902
Last Test Totalizer |  |  | This Test |  |  |  | This Test |  |  |  |  | Prover Serial # |  |  |  | Prover Size | -18 | 0.99903
Finish |  |  | Start |  |  |  | Finish | [6 empty] | 1459 |  | 1000 Gallons | -17 | 0.99905
RUN# | [16 empty] | -16 | 0.99906
FLOW RATE | 380 |  |  | 380 | [12 empty] | -15 | 0.99907
A) PROVER TANK READING | 996.2 |  |  | 996.89 | [12 empty] | -14 | 0.99908
B) PROVER TEMPS Top / Mid / Bot | 60 | 60 | 60 | 60 | 60 | 60 | [10 empty] | -13 | 0.9991
C) AVERAGE PROVER TEMP | 60 |  |  | 60 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | -12 | 0.99911
D) CTS METAL FACT. | 1 |  |  | 1 |  |  | 0.99926 |  |  | 0.99926 |  |  | 0.99926 |  |  | 0.99926 | -11 | 0.99912
E) CTL (TABLE 6-B) | 1 |  |  | 1 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | -10 | 0.99913
F) NET PROVER READING | 996.2 |  |  | 996.89 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | -9 | 0.99914
G) METERED AMOUNT | 1001.21 |  |  | 995.22 | [12 empty] | -8 | 0.99916
H) INVOICE TEMP. | 60 |  |  | 60 | [12 empty] | -7 | 0.99917
I) CTL (TABLE 6-B) | 1 |  |  | 1 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | -6 | 0.99918
J) NET METER READING | 1001.21 |  |  | 995.22 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | -5 | 0.99919
K) NET ERROR GALS. | -5.01 |  |  | 1.67 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | -4 | 0.99921
L) METER ERROR % | -0.50039 |  |  | 0.1678 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | -3 | 0.99922
M) CUBIC INCHES | -1157.31 |  |  | 385.77 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | -2 | 0.99923
N) PRESENT METER FACTOR | 0.995 |  |  | 1.0017 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | -1 | 0.99924
O) PRESENT METER FACTOR | 1.0433 |  |  | 1.0433 | [12 empty] | 0 | 0.99926
P) NEW METER FACTOR | 1.038 |  |  | 1.045 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 1 | 0.99927
METER SEAL #: | [16 empty] | 2 | 0.99928
COMMENTS: | [16 empty] | 3 | 0.99929
Performed By: | [16 empty] | 4 | 0.99931
[17 empty] | 5 | 0.99932
[17 empty] | 6 | 0.99933
[17 empty] | 7 | 0.99934
[17 empty] | 8 | 0.99936
[17 empty] | 9 | 0.99937
Factor goes DOWN to bring product UP | [16 empty] | 10 | 0.99938
Factor goes UP to bring product DOWN | [16 empty] | 11 | 0.99939
[17 empty] | 12 | 0.9994
[17 empty] | 13 | 0.99942
[17 empty] | 14 | 0.99943
[17 empty] | 15 | 0.99944
[17 empty] | 16 | 0.99945
NET PROVER READING = (A * D * E)
NET METER READING = (G * I)
NET ERROR GALLONS = (F - J)
METER ERROR % = (K / J) * 100
CUBIC = (K * 231)
PRESENT METER FACTOR = (F / J)
PRESENT "K" FACTOR = 1st RUN - RETRIEVE FROM METER
NEW "K" FACTOR = 1st RUN - (N * O) -- 2nd RUN - THIS #
BECOMES PRES. "K" FACTOR. Note: Check w/ Meter
Manufacturer on Method for Determining K (Meter) Factor.
METER PROVING TEST RECORD WORKSHEET INSTRUCTIONS.
* Please ensure the top of the document is filled in completely. Date of Test, Date of Last Test, Location, Plant,
Product, Thruput Since Last Test, Product Gravity, Meter Make, Model #, Size, Serial #, Meter #, Last Test Totalizer
Finish, This Test Start, Finish, Prover Serial #, Prover Size, Flow rate, Run #, Meter Serial # - Before/After, Wet Down- | [16 empty] | 17 | 0.99947
Meter ID#, Comments, Signature, Maintenance Supervisor's Signature. | [16 empty] | 18 | 0.99948
[17 empty] | 19 | 0.99949
* When performing the initial 'Wet Down' meter proving run, the meter identification number must be written on the | [16 empty] | 20 | 0.9995
Meter Proving Test Record. The 'Wet Down' run does not count toward REPEATABILITY. In addition, the Prover Can | [16 empty] | 21 | 0.99952
does not have to be 'Wet Down' again if changing meters/products during the same calibration. | [16 empty] | 22 | 0.99953
[17 empty] | 23 | 0.99953
* REPEATABILITY must occur within two consecutive meter proving runs with a meter factor between 0.9995 and | [16 empty] | 24 | 0.99955
1.0005.The difference between the two consecutive runs (if within the meter factor parameters) can not be greater than | [16 empty] | 25 | 0.99957
0.0005 AND the average of these two runs are within 0.0010 of the previous proving factor. | [16 empty] | 26 | 0.99958
[17 empty] | 27 | 0.99959
Example 1 - If Meter Factor for the 1st run is 0.9998 and the Meter Factor for the 2nd run is 1.0001, then this is within | [16 empty] | 28 | 0.9996
tolerance. | [16 empty] | 29 | 0.99962
[17 empty] | 30 | 0.99963
Example 2-If Meter Factor for the 1st run is 0.9995 and the Meter Factor for the 2nd run is 1.0004 than this is outside | [16 empty] | 31 | 0.99964
of tolerance even though it is within the acceptable parameters because the difference between the two meter factors | [16 empty] | 32 | 0.99965
is greater than 0.0005. | [16 empty] | 33 | 0.99967
[17 empty] | 34 | 0.99968
* Category Definitions / Calculations: | [16 empty] | 35 | 0.99969
A - Prover Tank Reading - Prover Tank gross gallons reading. | [16 empty] | 36 | 0.9997
[17 empty] | 37 | 0.99971
B - Prover Temperatures (Top/Middle/Bottom) - three independent temperatures secured from the top, middle and | [16 empty] | 38 | 0.99973
bottom of the Prover Tank. | [16 empty] | 39 | 0.99974
[17 empty] | 40 | 0.99975
C - Average Prover Temperature - Line B's three independent temperatures added together and divided by three to get | [16 empty] | 41 | 0.99976
an average temperature for the Prover Tank. | [16 empty] | 42 | 0.99978
[17 empty] | 43 | 0.99979
D -CTS Metal Factor -Retrieve 'Tank Temperature Correction Factor Table'. Using the 'Average Prover Temperature' on | [16 empty] | 44 | 0.9998
line C, write in the metal factor from the chart. | [16 empty] | 45 | 0.99981
[17 empty] | 46 | 0.99983
E-CTL (Table 6-B) - Based on the API Table 6B (to convert to 60 degrees) secure factor based on the 'Average Prover | [16 empty] | 47 | 0.99984
Temperature' on line C that are listed down the sides of Table 6B and for the Product Gravity listed across the top of | [16 empty] | 48 | 0.99985
Table 6B. Place the results on line E. | [16 empty] | 49 | 0.99986
[17 empty] | 50 | 0.99988
F - Net Prover Reading - Multiply the results on line A times line D times line E. Put the final result on line F. | [16 empty] | 51 | 0.99989
[17 empty] | 52 | 0.9999
G - Metered Amount - enter the Metered Amount. | [16 empty] | 53 | 0.99991
[17 empty] | 54 | 0.99993
H - Invoice Temperature - Retrieve the temperature of the stream from the product invoice. | [16 empty] | 55 | 0.99994
[17 empty] | 56 | 0.99995
I - CTL (Table 6-B) - Based on the API Table 6B (to convert to 60 degrees) secure factor based on the 'Invoice | [16 empty] | 57 | 0.99996
Temperature' that are listed down the sides of Table 6B and for the Product Gravity listed across the top of Table 6B. | [16 empty] | 58 | 0.99998
Place the result on line I | [16 empty] | 59 | 0.99999
[17 empty] | 60 | 1
J - Net Meter Reading - Multiply the result on line G times the result on line I. Put the final result on line J. | [16 empty] | 61 | 1
[17 empty] | 62 | 1
K - Net Error Gallons - Subtract the result on line J from line F. Put the final result on line K. This number can be | [16 empty] | 63 | 1
negative. | [16 empty] | 64 | 1.0001
[17 empty] | 65 | 1.0001
L - Meter Error % - Divide the result on line K by the result on line J, then multiply this number by 100 to get a | [16 empty] | 66 | 1.0001
percentage. Enter the final result on line L. | [16 empty] | 67 | 1.0001
[17 empty] | 68 | 1.0001
M -Cubic Inches - Multiply the result on line K by 231. Place the result on line M. | [16 empty] | 69 | 1.0001
[17 empty] | 70 | 1.0001
N - Present Meter Factor - Divide the result on line F by the result on line J. Put the resulting 'factor' on line N. (See | [16 empty] | 71 | 1.0001
Note on Line P) | [16 empty] | 72 | 1.0002
[17 empty] | 73 | 1.0002
O-Present "K" Factor - the 1st run this number comes from the meter that is being 'proved. Place the result on line O. | [16 empty] | 74 | 1.0002
[17 empty] | 75 | 1.0002
P - New "K" Factor - the 1st run multiply the result on line N times the result on line O. Place the result on line O. | [16 empty] | 76 | 1.0002
The 2nd plus runs, this number becomes the "Present 'K' Factor" on line O. Note: Check with the Meter | [16 empty] | 77 | 1.0002
Manufacture to determine New K (Meter) Factor. Depending on the meter, an inverse function of the | [16 empty] | 78 | 1.0002
Present Meter Factor may be required to obtain the K factor. | [16 empty] | 79 | 1.0002
[17 empty] | 80 | 1.0003
[17 empty] | 81 | 1.0003
[17 empty] | 82 | 1.0003
[17 empty] | 83 | 1.0003
[17 empty] | 84 | 1.0003
[17 empty] | 85 | 1.0003
[17 empty] | 86 | 1.0003
[17 empty] | 87 | 1.0003
[17 empty] | 88 | 1.0004
[17 empty] | 89 | 1.0004
[17 empty] | 90 | 1.0004
[17 empty] | 91 | 1.0004
[17 empty] | 92 | 1.0004
[17 empty] | 93 | 1.0004
[17 empty] | 94 | 100042
[17 empty] | 95 | 1.0004
[17 empty] | 96 | 1.0005
[17 empty] | 97 | 1.0005
[17 empty] | 98 | 1.0005
[17 empty] | 99 | 1.0005
[17 empty] | 100 | 1.0005
[17 empty] | 101 | 1.0005
[17 empty] | 102 | 1.0005
[17 empty] | 103 | 1.0005
[17 empty] | 104 | 1.0006
[17 empty] | 105 | 1.0006
[17 empty] | 106 | 1.0006
[17 empty] | 107 | 1.0006
[17 empty] | 108 | 1.0006
[17 empty] | 109 | 1.0006
[17 empty] | 110 | 1.0006
[17 empty] | 111 | 1.0006
[17 empty] | 112 | 1.0006
[17 empty] | 113 | 1.0007
[17 empty] | 114 | 1.0007
[17 empty] | 115 | 1.0007
[17 empty] | 116 | 1.0007
[17 empty] | 117 | 1.0007
[17 empty] | 118 | 1.0007
[17 empty] | 119 | 1.0007
[17 empty] | 120 | 1.0007
[17 empty] | 121 | 1.0008
[17 empty] | 122 | 1.0008
[17 empty] | 123 | 1.0008
[17 empty] | 124 | 1.0008
[17 empty] | 125 | 1.0008
[17 empty] | 126 | 1.0008
[17 empty] | 127 | 1.0008
[17 empty] | 128 | 1.0008
[17 empty] | 129 | 1.0009
[17 empty] | 130 | 1.0009
[17 empty] | 131 | 1.0009
[17 empty] | 132 | 1.0009
[17 empty] | 133 | 1.0009
[17 empty] | 134 | 1.0009
[17 empty] | 135 | 1.0009
[17 empty] | 136 | 1.0009
[17 empty] | 137 | 1.001
[17 empty] | 138 | 1.001
[17 empty] | 139 | 1.001
[17 empty] | 140 | 1.001
[17 empty] | 141 | 1.001
[17 empty] | 142 | 1.001
[17 empty] | 143 | 1.001
[17 empty] | 144 | 1.001
[17 empty] | 145 | 1.001
[17 empty] | 146 | 1.0011
[17 empty] | 147 | 1.0011
[17 empty] | 148 | 1.0011
[17 empty] | 149 | 1.0011
[17 empty] | 150 | 1.0011
[17 empty] | 151 | 1.0011
[17 empty] | 152 | 1.0011
[17 empty] | 153 | 1.0011
[17 empty] | 154 | 1.0012
[17 empty] | 155 | 1.0012
[17 empty] | 156 | 1.0012
[17 empty] | 157 | 1.0012
[17 empty] | 158 | 1.0012
[17 empty] | 159 | 1.0012
[17 empty] | 160 | 1.0012
[17 empty] | 161 | 1.0012
[17 empty] | 162 | 1.0013
[17 empty] | 163 | 1.0013
[17 empty] | 164 | 1.0013
[17 empty] | 165 | 1.0013
[17 empty] | 166 | 1.0013
[17 empty] | 167 | 1.0013
[17 empty] | 168 | 1.0013
[17 empty] | 169 | 1.0013
[17 empty] | 170 | 1.0014
[17 empty] | 171 | 1.0014
[17 empty] | 172 | 1.0014
[17 empty] | 173 | 1.0014
[17 empty] | 174 | 1.0014
[17 empty] | 175 | 1.0014
[17 empty] | 176 | 1.0014
[17 empty] | 177 | 1.0014
[17 empty] | 178 | 1.0015
[17 empty] | 179 | 1.0015
[17 empty] | 180 | 1.0015
[17 empty] | 181 | 1.0015
[17 empty] | 182 | 1.0015
[17 empty] | 183 | 1.0015
[17 empty] | 184 | 1.0015
[17 empty] | 185 | 1.0015
[17 empty] | 186 | 1.0016
[17 empty] | 187 | 1.0016
[17 empty] | 188 | 1.0016
[17 empty] | 189 | 1.0016
[17 empty] | 190 | 1.0016
[17 empty] | 191 | 1.0016
[17 empty] | 192 | 1.0016
[17 empty] | 193 | 1.0016
[17 empty] | 194 | 1.0017
[17 empty] | 195 | 1.0017
[17 empty] | 196 | 1.0017
[17 empty] | 197 | 1.0017
[17 empty] | 198 | 1.0017
[17 empty] | 199 | 1.0017
[17 empty] | 200 | 1.0017
[17 empty] | 201 | 1.0017
[17 empty] | 202 | 1.0018
[17 empty] | 203 | 1.0018
[17 empty] | 204 | 1.0018
[17 empty] | 205 | 1.0018
[17 empty] | 206 | 1.0018
[17 empty] | 207 | 1.0018
[17 empty] | 208 | 1.0018
[17 empty] | 209 | 1.0018
[17 empty] | 210 | 1.0019
[17 empty] | 211 | 1.0019
[17 empty] | 212 | 1.0019
[17 empty] | 213 | 1.0019
[17 empty] | 214 | 1.0019
[17 empty] | 215 | 1.0019
[17 empty] | 216 | 1.0019
[17 empty] | 217 | 1.0019
[17 empty] | 218 | 1.002
[17 empty] | 219 | 1.002
[17 empty] | 220 | 1.002
[17 empty] | 221 | 1.002
[17 empty] | 222 | 1.002
[17 empty] | 223 | 1.002
[17 empty] | 224 | 1.002
[17 empty] | 225 | 1.0021
[17 empty] | 226 | 1.0021
[17 empty] | 227 | 1.0021
[17 empty] | 228 | 1.0021
[17 empty] | 229 | 1.0021
[17 empty] | 230 | 1.0021
[17 empty] | 231 | 1.0021
[17 empty] | 232 | 1.0021
[17 empty] | 233 | 1.0022
[17 empty] | 234 | 1.0022
[17 empty] | 235 | 1.0022
[17 empty] | 236 | 1.0022
[17 empty] | 237 | 1.0022
[17 empty] | 238 | 1.0022
[17 empty] | 239 | 1.0022
[17 empty] | 240 | 1.0022
[17 empty] | 241 | 1.0023
[17 empty] | 242 | 1.0023
[17 empty] | 243 | 1.0023
[17 empty] | 244 | 1.0023
[17 empty] | 245 | 1.0023
[17 empty] | 246 | 1.0023
[17 empty] | 247 | 1.0023
[17 empty] | 248 | 1.0023
[17 empty] | 249 | 1.0023
[17 empty] | 250 | 1.0024
[17 empty] | 251 | 1.0024
[17 empty] | 252 | 1.0024
[17 empty] | 253 | 1.0024
[17 empty] | 254 | 1.0024
[17 empty] | 255 | 1.0024
[17 empty] | 256 | 1.0024
[17 empty] | 257 | 1.0024
[17 empty] | 258 | 1.0025
[17 empty] | 259 | 1.0025
[17 empty] | 260 | 1.0025
[17 empty] | 261 | 1.0025
[17 empty] | 262 | 1.0025
[17 empty] | 263 | 1.0025
[17 empty] | 264 | 1.0025
[17 empty] | 265 | 1.0025
[17 empty] | 266 | 1.0026
[17 empty] | 267 | 1.0026
[17 empty] | 268 | 1.0026
[17 empty] | 269 | 1.0026
[17 empty] | 270 | 1.0026
[17 empty] | 271 | 1.0026
[17 empty] | 272 | 1.0026
[17 empty] | 273 | 1.0026
[17 empty] | 274 | 1.0027
[17 empty] | 275 | 1.0027
[17 empty] | 276 | 1.0027
[17 empty] | 277 | 1.0027
[17 empty] | 278 | 1.0027
[17 empty] | 279 | 1.0027
[17 empty] | 280 | 1.0027
[17 empty] | 281 | 1.0027
[17 empty] | 282 | 1.0028
[17 empty] | 283 | 1.0028
[17 empty] | 284 | 1.0028
[17 empty] | 285 | 1.0028
[17 empty] | 286 | 1.0028
[17 empty] | 287 | 1.0028
[17 empty] | 288 | 1.0028
[17 empty] | 289 | 1.0028
[17 empty] | 290 | 1.0029
[17 empty] | 291 | 1.0029
[17 empty] | 292 | 1.0029
[17 empty] | 293 | 1.0029
[17 empty] | 294 | 1.0029
[17 empty] | 295 | 1.0029
[17 empty] | 296 | 1.0029
[17 empty] | 297 | 1.0029
[17 empty] | 298 | 1.003
[17 empty] | 299 | 1.003
[17 empty] | 300 | 1.003

## Meter Proving Test Record ( (3)
METER TEST PROVING RECORD
[5 empty] | Date of Test |  |  | Last Test Date
Shell
Location |  |  | Address |  | Product |  | Thruput Since Last Test |  |  | Product Gravity | Shell Temp | Correction Factor
[11 empty] | -20 | 0.99901
Meter Make |  | Model # |  | Size |  |  |  |  | Meter ID# |  | -19 | 0.99902
Last Test Totalizer |  | This Test |  | This Test |  |  | Prover Serial # |  |  | Prover Size | -18 | 0.99903
Finish |  | Start |  | Finish |  |  |  |  | 1459 |  | -17 | 0.99905
RUN# | [10 empty] | -16 | 0.99906
FLOW RATE | [10 empty] | -15 | 0.99907
A) PROVER TANK READING | [10 empty] | -14 | 0.99908
B) PROVER TEMPS Top / Mid / Bot | [10 empty] | -13 | 0.9991
C) AVERAGE PROVER TEMP | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | -12 | 0.99911
D) CTS METAL FACT. | 0.99926 |  | 0.99926 | 0.99926 |  | 0.99926 |  | 0.99926 |  | 0.99926 | -11 | 0.99912
E) CTL (TABLE 6-B) | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | -10 | 0.99913
F) NET PROVER READING | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | -9 | 0.99914
G) METERED AMOUNT | [10 empty] | -8 | 0.99916
H) INVOICE TEMP. | [10 empty] | -7 | 0.99917
I) CTL (TABLE 6-B) | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | -6 | 0.99918
J) NET METER READING | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | -5 | 0.99919
K) NET ERROR GALS. | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | -4 | 0.99921
L) METER ERROR % | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | -3 | 0.99922
M) CUBIC INCHES | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | -2 | 0.99923
N) PRESENT METER FACTOR | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | -1 | 0.99924
O) PRESENT METER FACTOR | [10 empty] | 0 | 0.99926
P) NEW METER FACTOR | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 1 | 0.99927
METER SEAL #: | [10 empty] | 2 | 0.99928
COMMENTS: | [10 empty] | 3 | 0.99929
Performed By: | [10 empty] | 4 | 0.99931
[11 empty] | 5 | 0.99932
[11 empty] | 6 | 0.99933
[11 empty] | 7 | 0.99934
[11 empty] | 8 | 0.99936
[11 empty] | 9 | 0.99937
Factor goes DOWN to bring product UP | [10 empty] | 10 | 0.99938
Factor goes UP to bring product DOWN | [10 empty] | 11 | 0.99939
[11 empty] | 12 | 0.9994
[11 empty] | 13 | 0.99942
[11 empty] | 14 | 0.99943
[11 empty] | 15 | 0.99944
[11 empty] | 16 | 0.99945
NET PROVER READING = (A * D * E)
NET METER READING = (G * I)
NET ERROR GALLONS = (F - J)
METER ERROR % = (K / J) * 100
CUBIC = (K * 231)
PRESENT METER FACTOR = (F / J)
PRESENT "K" FACTOR = 1st RUN - RETRIEVE FROM METER
NEW "K" FACTOR = 1st RUN - (N * O) -- 2nd RUN - THIS #
BECOMES PRES. "K" FACTOR. Note: Check w/ Meter
Manufacturer on Method for Determining K (Meter) Factor.
METER PROVING TEST RECORD WORKSHEET INSTRUCTIONS.
* Please ensure the top of the document is filled in completely. Date of Test, Date of Last Test, Location, Plant,
Product, Thruput Since Last Test, Product Gravity, Meter Make, Model #, Size, Serial #, Meter #, Last Test Totalizer
Finish, This Test Start, Finish, Prover Serial #, Prover Size, Flow rate, Run #, Meter Serial # - Before/After, Wet Down- | [10 empty] | 17 | 0.99947
Meter ID#, Comments, Signature, Maintenance Supervisor's Signature. | [10 empty] | 18 | 0.99948
[11 empty] | 19 | 0.99949
* When performing the initial 'Wet Down' meter proving run, the meter identification number must be written on the | [10 empty] | 20 | 0.9995
Meter Proving Test Record. The 'Wet Down' run does not count toward REPEATABILITY. In addition, the Prover Can | [10 empty] | 21 | 0.99952
does not have to be 'Wet Down' again if changing meters/products during the same calibration. | [10 empty] | 22 | 0.99953
[11 empty] | 23 | 0.99953
* REPEATABILITY must occur within two consecutive meter proving runs with a meter factor between 0.9995 and | [10 empty] | 24 | 0.99955
1.0005.The difference between the two consecutive runs (if within the meter factor parameters) can not be greater than | [10 empty] | 25 | 0.99957
0.0005 AND the average of these two runs are within 0.0010 of the previous proving factor. | [10 empty] | 26 | 0.99958
[11 empty] | 27 | 0.99959
Example 1 - If Meter Factor for the 1st run is 0.9998 and the Meter Factor for the 2nd run is 1.0001, then this is within | [10 empty] | 28 | 0.9996
tolerance. | [10 empty] | 29 | 0.99962
[11 empty] | 30 | 0.99963
Example 2-If Meter Factor for the 1st run is 0.9995 and the Meter Factor for the 2nd run is 1.0004 than this is outside | [10 empty] | 31 | 0.99964
of tolerance even though it is within the acceptable parameters because the difference between the two meter factors | [10 empty] | 32 | 0.99965
is greater than 0.0005. | [10 empty] | 33 | 0.99967
[11 empty] | 34 | 0.99968
* Category Definitions / Calculations: | [10 empty] | 35 | 0.99969
A - Prover Tank Reading - Prover Tank gross gallons reading. | [10 empty] | 36 | 0.9997
[11 empty] | 37 | 0.99971
B - Prover Temperatures (Top/Middle/Bottom) - three independent temperatures secured from the top, middle and | [10 empty] | 38 | 0.99973
bottom of the Prover Tank. | [10 empty] | 39 | 0.99974
[11 empty] | 40 | 0.99975
C - Average Prover Temperature - Line B's three independent temperatures added together and divided by three to get | [10 empty] | 41 | 0.99976
an average temperature for the Prover Tank. | [10 empty] | 42 | 0.99978
[11 empty] | 43 | 0.99979
D -CTS Metal Factor -Retrieve 'Tank Temperature Correction Factor Table'. Using the 'Average Prover Temperature' on | [10 empty] | 44 | 0.9998
line C, write in the metal factor from the chart. | [10 empty] | 45 | 0.99981
[11 empty] | 46 | 0.99983
E-CTL (Table 6-B) - Based on the API Table 6B (to convert to 60 degrees) secure factor based on the 'Average Prover | [10 empty] | 47 | 0.99984
Temperature' on line C that are listed down the sides of Table 6B and for the Product Gravity listed across the top of | [10 empty] | 48 | 0.99985
Table 6B. Place the results on line E. | [10 empty] | 49 | 0.99986
[11 empty] | 50 | 0.99988
F - Net Prover Reading - Multiply the results on line A times line D times line E. Put the final result on line F. | [10 empty] | 51 | 0.99989
[11 empty] | 52 | 0.9999
G - Metered Amount - enter the Metered Amount. | [10 empty] | 53 | 0.99991
[11 empty] | 54 | 0.99993
H - Invoice Temperature - Retrieve the temperature of the stream from the product invoice. | [10 empty] | 55 | 0.99994
[11 empty] | 56 | 0.99995
I - CTL (Table 6-B) - Based on the API Table 6B (to convert to 60 degrees) secure factor based on the 'Invoice | [10 empty] | 57 | 0.99996
Temperature' that are listed down the sides of Table 6B and for the Product Gravity listed across the top of Table 6B. | [10 empty] | 58 | 0.99998
Place the result on line I | [10 empty] | 59 | 0.99999
[11 empty] | 60 | 1
J - Net Meter Reading - Multiply the result on line G times the result on line I. Put the final result on line J. | [10 empty] | 61 | 1
[11 empty] | 62 | 1
K - Net Error Gallons - Subtract the result on line J from line F. Put the final result on line K. This number can be | [10 empty] | 63 | 1
negative. | [10 empty] | 64 | 1.0001
[11 empty] | 65 | 1.0001
L - Meter Error % - Divide the result on line K by the result on line J, then multiply this number by 100 to get a | [10 empty] | 66 | 1.0001
percentage. Enter the final result on line L. | [10 empty] | 67 | 1.0001
[11 empty] | 68 | 1.0001
M -Cubic Inches - Multiply the result on line K by 231. Place the result on line M. | [10 empty] | 69 | 1.0001
[11 empty] | 70 | 1.0001
N - Present Meter Factor - Divide the result on line F by the result on line J. Put the resulting 'factor' on line N. (See | [10 empty] | 71 | 1.0001
Note on Line P) | [10 empty] | 72 | 1.0002
[11 empty] | 73 | 1.0002
O-Present "K" Factor - the 1st run this number comes from the meter that is being 'proved. Place the result on line O. | [10 empty] | 74 | 1.0002
[11 empty] | 75 | 1.0002
P - New "K" Factor - the 1st run multiply the result on line N times the result on line O. Place the result on line O. | [10 empty] | 76 | 1.0002
The 2nd plus runs, this number becomes the "Present 'K' Factor" on line O. Note: Check with the Meter | [10 empty] | 77 | 1.0002
Manufacture to determine New K (Meter) Factor. Depending on the meter, an inverse function of the | [10 empty] | 78 | 1.0002
Present Meter Factor may be required to obtain the K factor. | [10 empty] | 79 | 1.0002
[11 empty] | 80 | 1.0003
[11 empty] | 81 | 1.0003
[11 empty] | 82 | 1.0003
[11 empty] | 83 | 1.0003
[11 empty] | 84 | 1.0003
[11 empty] | 85 | 1.0003
[11 empty] | 86 | 1.0003
[11 empty] | 87 | 1.0003
[11 empty] | 88 | 1.0004
[11 empty] | 89 | 1.0004
[11 empty] | 90 | 1.0004
[11 empty] | 91 | 1.0004
[11 empty] | 92 | 1.0004
[11 empty] | 93 | 1.0004
[11 empty] | 94 | 100042
[11 empty] | 95 | 1.0004
[11 empty] | 96 | 1.0005
[11 empty] | 97 | 1.0005
[11 empty] | 98 | 1.0005
[11 empty] | 99 | 1.0005
[11 empty] | 100 | 1.0005
[11 empty] | 101 | 1.0005
[11 empty] | 102 | 1.0005
[11 empty] | 103 | 1.0005
[11 empty] | 104 | 1.0006
[11 empty] | 105 | 1.0006
[11 empty] | 106 | 1.0006
[11 empty] | 107 | 1.0006
[11 empty] | 108 | 1.0006
[11 empty] | 109 | 1.0006
[11 empty] | 110 | 1.0006
[11 empty] | 111 | 1.0006
[11 empty] | 112 | 1.0006
[11 empty] | 113 | 1.0007
[11 empty] | 114 | 1.0007
[11 empty] | 115 | 1.0007
[11 empty] | 116 | 1.0007
[11 empty] | 117 | 1.0007
[11 empty] | 118 | 1.0007
[11 empty] | 119 | 1.0007
[11 empty] | 120 | 1.0007
[11 empty] | 121 | 1.0008
[11 empty] | 122 | 1.0008
[11 empty] | 123 | 1.0008
[11 empty] | 124 | 1.0008
[11 empty] | 125 | 1.0008
[11 empty] | 126 | 1.0008
[11 empty] | 127 | 1.0008
[11 empty] | 128 | 1.0008
[11 empty] | 129 | 1.0009
[11 empty] | 130 | 1.0009
[11 empty] | 131 | 1.0009
[11 empty] | 132 | 1.0009
[11 empty] | 133 | 1.0009
[11 empty] | 134 | 1.0009
[11 empty] | 135 | 1.0009
[11 empty] | 136 | 1.0009
[11 empty] | 137 | 1.001
[11 empty] | 138 | 1.001
[11 empty] | 139 | 1.001
[11 empty] | 140 | 1.001
[11 empty] | 141 | 1.001
[11 empty] | 142 | 1.001
[11 empty] | 143 | 1.001
[11 empty] | 144 | 1.001
[11 empty] | 145 | 1.001
[11 empty] | 146 | 1.0011
[11 empty] | 147 | 1.0011
[11 empty] | 148 | 1.0011
[11 empty] | 149 | 1.0011
[11 empty] | 150 | 1.0011
[11 empty] | 151 | 1.0011
[11 empty] | 152 | 1.0011
[11 empty] | 153 | 1.0011
[11 empty] | 154 | 1.0012
[11 empty] | 155 | 1.0012
[11 empty] | 156 | 1.0012
[11 empty] | 157 | 1.0012
[11 empty] | 158 | 1.0012
[11 empty] | 159 | 1.0012
[11 empty] | 160 | 1.0012
[11 empty] | 161 | 1.0012
[11 empty] | 162 | 1.0013
[11 empty] | 163 | 1.0013
[11 empty] | 164 | 1.0013
[11 empty] | 165 | 1.0013
[11 empty] | 166 | 1.0013
[11 empty] | 167 | 1.0013
[11 empty] | 168 | 1.0013
[11 empty] | 169 | 1.0013
[11 empty] | 170 | 1.0014
[11 empty] | 171 | 1.0014
[11 empty] | 172 | 1.0014
[11 empty] | 173 | 1.0014
[11 empty] | 174 | 1.0014
[11 empty] | 175 | 1.0014
[11 empty] | 176 | 1.0014
[11 empty] | 177 | 1.0014
[11 empty] | 178 | 1.0015
[11 empty] | 179 | 1.0015
[11 empty] | 180 | 1.0015
[11 empty] | 181 | 1.0015
[11 empty] | 182 | 1.0015
[11 empty] | 183 | 1.0015
[11 empty] | 184 | 1.0015
[11 empty] | 185 | 1.0015
[11 empty] | 186 | 1.0016
[11 empty] | 187 | 1.0016
[11 empty] | 188 | 1.0016
[11 empty] | 189 | 1.0016
[11 empty] | 190 | 1.0016
[11 empty] | 191 | 1.0016
[11 empty] | 192 | 1.0016
[11 empty] | 193 | 1.0016
[11 empty] | 194 | 1.0017
[11 empty] | 195 | 1.0017
[11 empty] | 196 | 1.0017
[11 empty] | 197 | 1.0017
[11 empty] | 198 | 1.0017
[11 empty] | 199 | 1.0017
[11 empty] | 200 | 1.0017
[11 empty] | 201 | 1.0017
[11 empty] | 202 | 1.0018
[11 empty] | 203 | 1.0018
[11 empty] | 204 | 1.0018
[11 empty] | 205 | 1.0018
[11 empty] | 206 | 1.0018
[11 empty] | 207 | 1.0018
[11 empty] | 208 | 1.0018
[11 empty] | 209 | 1.0018
[11 empty] | 210 | 1.0019
[11 empty] | 211 | 1.0019
[11 empty] | 212 | 1.0019
[11 empty] | 213 | 1.0019
[11 empty] | 214 | 1.0019
[11 empty] | 215 | 1.0019
[11 empty] | 216 | 1.0019
[11 empty] | 217 | 1.0019
[11 empty] | 218 | 1.002
[11 empty] | 219 | 1.002
[11 empty] | 220 | 1.002
[11 empty] | 221 | 1.002
[11 empty] | 222 | 1.002
[11 empty] | 223 | 1.002
[11 empty] | 224 | 1.002
[11 empty] | 225 | 1.0021
[11 empty] | 226 | 1.0021
[11 empty] | 227 | 1.0021
[11 empty] | 228 | 1.0021
[11 empty] | 229 | 1.0021
[11 empty] | 230 | 1.0021
[11 empty] | 231 | 1.0021
[11 empty] | 232 | 1.0021
[11 empty] | 233 | 1.0022
[11 empty] | 234 | 1.0022
[11 empty] | 235 | 1.0022
[11 empty] | 236 | 1.0022
[11 empty] | 237 | 1.0022
[11 empty] | 238 | 1.0022
[11 empty] | 239 | 1.0022
[11 empty] | 240 | 1.0022
[11 empty] | 241 | 1.0023
[11 empty] | 242 | 1.0023
[11 empty] | 243 | 1.0023
[11 empty] | 244 | 1.0023
[11 empty] | 245 | 1.0023
[11 empty] | 246 | 1.0023
[11 empty] | 247 | 1.0023
[11 empty] | 248 | 1.0023
[11 empty] | 249 | 1.0023
[11 empty] | 250 | 1.0024
[11 empty] | 251 | 1.0024
[11 empty] | 252 | 1.0024
[11 empty] | 253 | 1.0024
[11 empty] | 254 | 1.0024
[11 empty] | 255 | 1.0024
[11 empty] | 256 | 1.0024
[11 empty] | 257 | 1.0024
[11 empty] | 258 | 1.0025
[11 empty] | 259 | 1.0025
[11 empty] | 260 | 1.0025
[11 empty] | 261 | 1.0025
[11 empty] | 262 | 1.0025
[11 empty] | 263 | 1.0025
[11 empty] | 264 | 1.0025
[11 empty] | 265 | 1.0025
[11 empty] | 266 | 1.0026
[11 empty] | 267 | 1.0026
[11 empty] | 268 | 1.0026
[11 empty] | 269 | 1.0026
[11 empty] | 270 | 1.0026
[11 empty] | 271 | 1.0026
[11 empty] | 272 | 1.0026
[11 empty] | 273 | 1.0026
[11 empty] | 274 | 1.0027
[11 empty] | 275 | 1.0027
[11 empty] | 276 | 1.0027
[11 empty] | 277 | 1.0027
[11 empty] | 278 | 1.0027
[11 empty] | 279 | 1.0027
[11 empty] | 280 | 1.0027
[11 empty] | 281 | 1.0027
[11 empty] | 282 | 1.0028
[11 empty] | 283 | 1.0028
[11 empty] | 284 | 1.0028
[11 empty] | 285 | 1.0028
[11 empty] | 286 | 1.0028
[11 empty] | 287 | 1.0028
[11 empty] | 288 | 1.0028
[11 empty] | 289 | 1.0028
[11 empty] | 290 | 1.0029
[11 empty] | 291 | 1.0029
[11 empty] | 292 | 1.0029
[11 empty] | 293 | 1.0029
[11 empty] | 294 | 1.0029
[11 empty] | 295 | 1.0029
[11 empty] | 296 | 1.0029
[11 empty] | 297 | 1.0029
[11 empty] | 298 | 1.003
[11 empty] | 299 | 1.003
[11 empty] | 300 | 1.003

## Meter Proving Test Record
METER TEST PROVING RECORD
Date of Test |  |  |  |  | Last Test Date
Shell
Location |  |  | Plant |  |  | Product |  | Thruput Since Last Test |  |  | Product Gravity | Shell Temp | Correction Factor
[12 empty] | -20 | 0.99901
Meter Make |  | Model # |  |  | Size |  |  |  |  | Meter ID# |  | -19 | 0.99902
Last Test Totalizer |  | This Test |  |  | This Test |  |  | Prover Serial # |  |  | Prover Size | -18 | 0.99903
Finish |  | Start |  |  | Finish | [6 empty] | -17 | 0.99905
RUN# | [11 empty] | -16 | 0.99906
FLOW RATE | 455 | [10 empty] | -15 | 0.99907
A) PROVER TANK READING | [11 empty] | -14 | 0.99908
B) PROVER TEMPS Top / Mid / Bot | [11 empty] | -13 | 0.9991
C) AVERAGE PROVER TEMP | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | -12 | 0.99911
D) CTS METAL FACT. | 0.99926 |  | 0.99926 |  | 0.99926 |  | 0.99926 |  | 0.99926 |  | 0.99926 | -11 | 0.99912
E) CTL (TABLE 6-B) | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | -10 | 0.99913
F) NET PROVER READING | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | -9 | 0.99914
G) METERED AMOUNT | [11 empty] | -8 | 0.99916
H) INVOICE TEMP. | [11 empty] | -7 | 0.99917
I) CTL (TABLE 6-B) | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | -6 | 0.99918
J) NET METER READING | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | -5 | 0.99919
K) NET ERROR GALS. | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | -4 | 0.99921
L) METER ERROR % | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | -3 | 0.99922
M) CUBIC INCHES | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | -2 | 0.99923
N) PRESENT METER FACTOR | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | -1 | 0.99924
O) PRESENT "K" FACTOR | [11 empty] | 0 | 0.99926
P) NEW "K" FACTOR | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 1 | 0.99927
METER SEAL #: | [11 empty] | 2 | 0.99928
COMMENTS: | [11 empty] | 3 | 0.99929
Performed By: | [11 empty] | 4 | 0.99931
[12 empty] | 5 | 0.99932
[12 empty] | 6 | 0.99933
[12 empty] | 7 | 0.99934
[12 empty] | 8 | 0.99936
[12 empty] | 9 | 0.99937
Factor goes DOWN to bring product UP | [11 empty] | 10 | 0.99938
Factor goes UP to bring product DOWN | [11 empty] | 11 | 0.99939
[12 empty] | 12 | 0.9994
[12 empty] | 13 | 0.99942
[12 empty] | 14 | 0.99943
[12 empty] | 15 | 0.99944
[12 empty] | 16 | 0.99945
NET PROVER READING = (A * D * E)
NET METER READING = (G * I)
NET ERROR GALLONS = (F - J)
METER ERROR % = (K / J) * 100
CUBIC = (K * 231)
PRESENT METER FACTOR = (F / J)
PRESENT "K" FACTOR = 1st RUN - RETRIEVE FROM METER
NEW "K" FACTOR = 1st RUN - (N * O) -- 2nd RUN - THIS #
BECOMES PRES. "K" FACTOR. Note: Check w/ Meter
Manufacturer on Method for Determining K (Meter) Factor.
METER PROVING TEST RECORD WORKSHEET INSTRUCTIONS.
* Please ensure the top of the document is filled in completely. Date of Test, Date of Last Test, Location, Plant,
Product, Thruput Since Last Test, Product Gravity, Meter Make, Model #, Size, Serial #, Meter #, Last Test Totalizer
Finish, This Test Start, Finish, Prover Serial #, Prover Size, Flow rate, Run #, Meter Serial # - Before/After, Wet Down- | [11 empty] | 17 | 0.99947
Meter ID#, Comments, Signature, Maintenance Supervisor's Signature. | [11 empty] | 18 | 0.99948
[12 empty] | 19 | 0.99949
* When performing the initial 'Wet Down' meter proving run, the meter identification number must be written on the | [11 empty] | 20 | 0.9995
Meter Proving Test Record. The 'Wet Down' run does not count toward REPEATABILITY. In addition, the Prover Can | [11 empty] | 21 | 0.99952
does not have to be 'Wet Down' again if changing meters/products during the same calibration. | [11 empty] | 22 | 0.99953
[12 empty] | 23 | 0.99953
* REPEATABILITY must occur within two consecutive meter proving runs with a meter factor between 0.9995 and | [11 empty] | 24 | 0.99955
1.0005.The difference between the two consecutive runs (if within the meter factor parameters) can not be greater than | [11 empty] | 25 | 0.99957
0.0005 AND the average of these two runs are within 0.0010 of the previous proving factor. | [11 empty] | 26 | 0.99958
[12 empty] | 27 | 0.99959
Example 1 - If Meter Factor for the 1st run is 0.9998 and the Meter Factor for the 2nd run is 1.0001, then this is within | [11 empty] | 28 | 0.9996
tolerance. | [11 empty] | 29 | 0.99962
[12 empty] | 30 | 0.99963
Example 2-If Meter Factor for the 1st run is 0.9995 and the Meter Factor for the 2nd run is 1.0004 than this is outside | [11 empty] | 31 | 0.99964
of tolerance even though it is within the acceptable parameters because the difference between the two meter factors | [11 empty] | 32 | 0.99965
is greater than 0.0005. | [11 empty] | 33 | 0.99967
[12 empty] | 34 | 0.99968
* Category Definitions / Calculations: | [11 empty] | 35 | 0.99969
A - Prover Tank Reading - Prover Tank gross gallons reading. | [11 empty] | 36 | 0.9997
[12 empty] | 37 | 0.99971
B - Prover Temperatures (Top/Middle/Bottom) - three independent temperatures secured from the top, middle and | [11 empty] | 38 | 0.99973
bottom of the Prover Tank. | [11 empty] | 39 | 0.99974
[12 empty] | 40 | 0.99975
C - Average Prover Temperature - Line B's three independent temperatures added together and divided by three to get | [11 empty] | 41 | 0.99976
an average temperature for the Prover Tank. | [11 empty] | 42 | 0.99978
[12 empty] | 43 | 0.99979
D -CTS Metal Factor -Retrieve 'Tank Temperature Correction Factor Table'. Using the 'Average Prover Temperature' on | [11 empty] | 44 | 0.9998
line C, write in the metal factor from the chart. | [11 empty] | 45 | 0.99981
[12 empty] | 46 | 0.99983
E-CTL (Table 6-B) - Based on the API Table 6B (to convert to 60 degrees) secure factor based on the 'Average Prover | [11 empty] | 47 | 0.99984
Temperature' on line C that are listed down the sides of Table 6B and for the Product Gravity listed across the top of | [11 empty] | 48 | 0.99985
Table 6B. Place the results on line E. | [11 empty] | 49 | 0.99986
[12 empty] | 50 | 0.99988
F - Net Prover Reading - Multiply the results on line A times line D times line E. Put the final result on line F. | [11 empty] | 51 | 0.99989
[12 empty] | 52 | 0.9999
G - Metered Amount - enter the Metered Amount. | [11 empty] | 53 | 0.99991
[12 empty] | 54 | 0.99993
H - Invoice Temperature - Retrieve the temperature of the stream from the product invoice. | [11 empty] | 55 | 0.99994
[12 empty] | 56 | 0.99995
I - CTL (Table 6-B) - Based on the API Table 6B (to convert to 60 degrees) secure factor based on the 'Invoice | [11 empty] | 57 | 0.99996
Temperature' that are listed down the sides of Table 6B and for the Product Gravity listed across the top of Table 6B. | [11 empty] | 58 | 0.99998
Place the result on line I | [11 empty] | 59 | 0.99999
[12 empty] | 60 | 1
J - Net Meter Reading - Multiply the result on line G times the result on line I. Put the final result on line J. | [11 empty] | 61 | 1
[12 empty] | 62 | 1
K - Net Error Gallons - Subtract the result on line J from line F. Put the final result on line K. This number can be | [11 empty] | 63 | 1
negative. | [11 empty] | 64 | 1.0001
[12 empty] | 65 | 1.0001
L - Meter Error % - Divide the result on line K by the result on line J, then multiply this number by 100 to get a | [11 empty] | 66 | 1.0001
percentage. Enter the final result on line L. | [11 empty] | 67 | 1.0001
[12 empty] | 68 | 1.0001
M -Cubic Inches - Multiply the result on line K by 231. Place the result on line M. | [11 empty] | 69 | 1.0001
[12 empty] | 70 | 1.0001
N - Present Meter Factor - Divide the result on line F by the result on line J. Put the resulting 'factor' on line N. (See | [11 empty] | 71 | 1.0001
Note on Line P) | [11 empty] | 72 | 1.0002
[12 empty] | 73 | 1.0002
O-Present "K" Factor - the 1st run this number comes from the meter that is being 'proved. Place the result on line O. | [11 empty] | 74 | 1.0002
[12 empty] | 75 | 1.0002
P - New "K" Factor - the 1st run multiply the result on line N times the result on line O. Place the result on line O. | [11 empty] | 76 | 1.0002
The 2nd plus runs, this number becomes the "Present 'K' Factor" on line O. Note: Check with the Meter | [11 empty] | 77 | 1.0002
Manufacture to determine New K (Meter) Factor. Depending on the meter, an inverse function of the | [11 empty] | 78 | 1.0002
Present Meter Factor may be required to obtain the K factor. | [11 empty] | 79 | 1.0002
[12 empty] | 80 | 1.0003
[12 empty] | 81 | 1.0003
[12 empty] | 82 | 1.0003
[12 empty] | 83 | 1.0003
[12 empty] | 84 | 1.0003
[12 empty] | 85 | 1.0003
[12 empty] | 86 | 1.0003
[12 empty] | 87 | 1.0003
[12 empty] | 88 | 1.0004
[12 empty] | 89 | 1.0004
[12 empty] | 90 | 1.0004
[12 empty] | 91 | 1.0004
[12 empty] | 92 | 1.0004
[12 empty] | 93 | 1.0004
[12 empty] | 94 | 100042
[12 empty] | 95 | 1.0004
[12 empty] | 96 | 1.0005
[12 empty] | 97 | 1.0005
[12 empty] | 98 | 1.0005
[12 empty] | 99 | 1.0005
[12 empty] | 100 | 1.0005
[12 empty] | 101 | 1.0005
[12 empty] | 102 | 1.0005
[12 empty] | 103 | 1.0005
[12 empty] | 104 | 1.0006
[12 empty] | 105 | 1.0006
[12 empty] | 106 | 1.0006
[12 empty] | 107 | 1.0006
[12 empty] | 108 | 1.0006
[12 empty] | 109 | 1.0006
[12 empty] | 110 | 1.0006
[12 empty] | 111 | 1.0006
[12 empty] | 112 | 1.0006
[12 empty] | 113 | 1.0007
[12 empty] | 114 | 1.0007
[12 empty] | 115 | 1.0007
[12 empty] | 116 | 1.0007
[12 empty] | 117 | 1.0007
[12 empty] | 118 | 1.0007
[12 empty] | 119 | 1.0007
[12 empty] | 120 | 1.0007
[12 empty] | 121 | 1.0008
[12 empty] | 122 | 1.0008
[12 empty] | 123 | 1.0008
[12 empty] | 124 | 1.0008
[12 empty] | 125 | 1.0008
[12 empty] | 126 | 1.0008
[12 empty] | 127 | 1.0008
[12 empty] | 128 | 1.0008
[12 empty] | 129 | 1.0009
[12 empty] | 130 | 1.0009
[12 empty] | 131 | 1.0009
[12 empty] | 132 | 1.0009
[12 empty] | 133 | 1.0009
[12 empty] | 134 | 1.0009
[12 empty] | 135 | 1.0009
[12 empty] | 136 | 1.0009
[12 empty] | 137 | 1.001
[12 empty] | 138 | 1.001
[12 empty] | 139 | 1.001
[12 empty] | 140 | 1.001
[12 empty] | 141 | 1.001
[12 empty] | 142 | 1.001
[12 empty] | 143 | 1.001
[12 empty] | 144 | 1.001
[12 empty] | 145 | 1.001
[12 empty] | 146 | 1.0011
[12 empty] | 147 | 1.0011
[12 empty] | 148 | 1.0011
[12 empty] | 149 | 1.0011
[12 empty] | 150 | 1.0011
[12 empty] | 151 | 1.0011
[12 empty] | 152 | 1.0011
[12 empty] | 153 | 1.0011
[12 empty] | 154 | 1.0012
[12 empty] | 155 | 1.0012
[12 empty] | 156 | 1.0012
[12 empty] | 157 | 1.0012
[12 empty] | 158 | 1.0012
[12 empty] | 159 | 1.0012
[12 empty] | 160 | 1.0012
[12 empty] | 161 | 1.0012
[12 empty] | 162 | 1.0013
[12 empty] | 163 | 1.0013
[12 empty] | 164 | 1.0013
[12 empty] | 165 | 1.0013
[12 empty] | 166 | 1.0013
[12 empty] | 167 | 1.0013
[12 empty] | 168 | 1.0013
[12 empty] | 169 | 1.0013
[12 empty] | 170 | 1.0014
[12 empty] | 171 | 1.0014
[12 empty] | 172 | 1.0014
[12 empty] | 173 | 1.0014
[12 empty] | 174 | 1.0014
[12 empty] | 175 | 1.0014
[12 empty] | 176 | 1.0014
[12 empty] | 177 | 1.0014
[12 empty] | 178 | 1.0015
[12 empty] | 179 | 1.0015
[12 empty] | 180 | 1.0015
[12 empty] | 181 | 1.0015
[12 empty] | 182 | 1.0015
[12 empty] | 183 | 1.0015
[12 empty] | 184 | 1.0015
[12 empty] | 185 | 1.0015
[12 empty] | 186 | 1.0016
[12 empty] | 187 | 1.0016
[12 empty] | 188 | 1.0016
[12 empty] | 189 | 1.0016
[12 empty] | 190 | 1.0016
[12 empty] | 191 | 1.0016
[12 empty] | 192 | 1.0016
[12 empty] | 193 | 1.0016
[12 empty] | 194 | 1.0017
[12 empty] | 195 | 1.0017
[12 empty] | 196 | 1.0017
[12 empty] | 197 | 1.0017
[12 empty] | 198 | 1.0017
[12 empty] | 199 | 1.0017
[12 empty] | 200 | 1.0017
[12 empty] | 201 | 1.0017
[12 empty] | 202 | 1.0018
[12 empty] | 203 | 1.0018
[12 empty] | 204 | 1.0018
[12 empty] | 205 | 1.0018
[12 empty] | 206 | 1.0018
[12 empty] | 207 | 1.0018
[12 empty] | 208 | 1.0018
[12 empty] | 209 | 1.0018
[12 empty] | 210 | 1.0019
[12 empty] | 211 | 1.0019
[12 empty] | 212 | 1.0019
[12 empty] | 213 | 1.0019
[12 empty] | 214 | 1.0019
[12 empty] | 215 | 1.0019
[12 empty] | 216 | 1.0019
[12 empty] | 217 | 1.0019
[12 empty] | 218 | 1.002
[12 empty] | 219 | 1.002
[12 empty] | 220 | 1.002
[12 empty] | 221 | 1.002
[12 empty] | 222 | 1.002
[12 empty] | 223 | 1.002
[12 empty] | 224 | 1.002
[12 empty] | 225 | 1.0021
[12 empty] | 226 | 1.0021
[12 empty] | 227 | 1.0021
[12 empty] | 228 | 1.0021
[12 empty] | 229 | 1.0021
[12 empty] | 230 | 1.0021
[12 empty] | 231 | 1.0021
[12 empty] | 232 | 1.0021
[12 empty] | 233 | 1.0022
[12 empty] | 234 | 1.0022
[12 empty] | 235 | 1.0022
[12 empty] | 236 | 1.0022
[12 empty] | 237 | 1.0022
[12 empty] | 238 | 1.0022
[12 empty] | 239 | 1.0022
[12 empty] | 240 | 1.0022
[12 empty] | 241 | 1.0023
[12 empty] | 242 | 1.0023
[12 empty] | 243 | 1.0023
[12 empty] | 244 | 1.0023
[12 empty] | 245 | 1.0023
[12 empty] | 246 | 1.0023
[12 empty] | 247 | 1.0023
[12 empty] | 248 | 1.0023
[12 empty] | 249 | 1.0023
[12 empty] | 250 | 1.0024
[12 empty] | 251 | 1.0024
[12 empty] | 252 | 1.0024
[12 empty] | 253 | 1.0024
[12 empty] | 254 | 1.0024
[12 empty] | 255 | 1.0024
[12 empty] | 256 | 1.0024
[12 empty] | 257 | 1.0024
[12 empty] | 258 | 1.0025
[12 empty] | 259 | 1.0025
[12 empty] | 260 | 1.0025
[12 empty] | 261 | 1.0025
[12 empty] | 262 | 1.0025
[12 empty] | 263 | 1.0025
[12 empty] | 264 | 1.0025
[12 empty] | 265 | 1.0025
[12 empty] | 266 | 1.0026
[12 empty] | 267 | 1.0026
[12 empty] | 268 | 1.0026
[12 empty] | 269 | 1.0026
[12 empty] | 270 | 1.0026
[12 empty] | 271 | 1.0026
[12 empty] | 272 | 1.0026
[12 empty] | 273 | 1.0026
[12 empty] | 274 | 1.0027
[12 empty] | 275 | 1.0027
[12 empty] | 276 | 1.0027
[12 empty] | 277 | 1.0027
[12 empty] | 278 | 1.0027
[12 empty] | 279 | 1.0027
[12 empty] | 280 | 1.0027
[12 empty] | 281 | 1.0027
[12 empty] | 282 | 1.0028
[12 empty] | 283 | 1.0028
[12 empty] | 284 | 1.0028
[12 empty] | 285 | 1.0028
[12 empty] | 286 | 1.0028
[12 empty] | 287 | 1.0028
[12 empty] | 288 | 1.0028
[12 empty] | 289 | 1.0028
[12 empty] | 290 | 1.0029
[12 empty] | 291 | 1.0029
[12 empty] | 292 | 1.0029
[12 empty] | 293 | 1.0029
[12 empty] | 294 | 1.0029
[12 empty] | 295 | 1.0029
[12 empty] | 296 | 1.0029
[12 empty] | 297 | 1.0029
[12 empty] | 298 | 1.003
[12 empty] | 299 | 1.003
[12 empty] | 300 | 1.003